# NuXL

# Protein-RNA and Protein-DNA cross-linking Nodes

# for Proteome Discoverer 2.5

# Official beta program – Do not distribute without permission.

# User Manual

## Installation

Installing the NuXL plugin for Proteome Discoverer is easy: just	run the binary installer 
NuXL-PD2.5.exe and it should automatically detect your PD folder and install the nodes in the correct location.

| ! | Proteome Discoverer should be closed before running the installer. |
| --- | --- |

After successful	 installation, you should find the NuXL processing and consensus nodes in your Proteome Discoverer workflow editor.

| ? | In rare cases, the installer does not work, because the Proteome Discoverer registry key cannot be found. Should this be the case, please contact us for instruction how to perform a manual installation. |
| --- | --- |

### Usage

### Setting	up the study

- Start Proteome Discoverer 2.5 and load NuXL.pdStudy to set up the study.

- Add the Thermo raw files you want to analyze

### Setting	up the workflows from a preconfigured analysis template

The easiest way	 of getting started is to use the preconfigured processing and consensus workflows from the analysis templates:

- Make sure to open the correct analysis template for the input files.

- Add the input files by dragging them on the Processing Step in the Analysis tab. 
And check the By File checkbox.

| ! | Checking the By File checkbox is crucial for proper processing in this beta version. |
| --- | --- |

| ! | Choosing the correct analysis template is crucial for valid search results. E.g., searching for chemical cross-links in UV data will not yield meaningful results. |
| --- | --- |

Your project is now set up and you can click on Run to execute the analysis

### Advanced: setting up a custom analysis workflow

If you prefer to	set up the workflows yourself, we recommend building the processing workflow so that it looks like the figure to the right.

| ! | Make sure to set “MS Order” to “Any” in the Spectrum Selector node (otherwise, MS1 spectra are discarded and the workflow makes use of them). Adapt the parameters of the NuXL processing node as needed. |
| --- | --- |

Set	up	a	new	study	as	usual.	If	you	have	both	a	UV	cross-linked	run	and	a	control	run	without	cross-links,	you	can	load	both	these	files	here.	Otherwise,	just	load	the	crosslink	file.	The	workflow	will	later	determine	whether	a	control	is	present	or	not	and	automatically	omit	the	steps	involving	a	control	file	if	it	is	missing.

If	you	do	have	a	control	run,	it	is	important	to	mark	it	as	Control	(not	Sample)	in	the	Samples	tab:

There	are	two	notable	sets	of	advanced	parameters:

1)	Section	“4.	ID	filtering”:	By	default,	the	identification	settings	for	the	ID	filtering	step	are	taken	over	from	the	ones	set	in	section	“3.	Peptide	Identification”.	If	you	want	custom	settings	for	the	ID	filtering	step,	independent	of	the	settings	for	the	actual	peptide/nucleotide	identification,	you	can	set	the	advanced	parameter	“Use	same	settings	as	in	main	peptide	identification”	in	“4.	ID	filtering”	to	False	and	adapt	section	“4.	ID	filtering”	as	needed.

2)	Target	nucleotides	/	Mapping	/	Restrictions	/	Fragment	adducts:	these	can	be	used	to	manually	adapt	the	internals	of	the	algorithm	to	different	molecule	classes	etc.	(e.g.,	DNA	fragment	adducts	instead	of	RNA).

The	consensus	workflow	is	even	simpler:	Just	connect	an	MSF	Files	node	to	an	RNPxl	Consensus	node.	But	be	sure	to	set	“Spectra	to	Store”	to	“All”	in	the	MSF	Files	node:

Drag&drop	your	input	files	onto	the	“Input	Files”	area	of	the	processing	step	and	press	Run,	as	usual:

# Results

Once your jobs have completed you can open the results from the Administration tab by double-clicking (or selecting “Open Results”) on a row that shows Type “Consensus”.

The “Proteins”	and “PSMs” tables are empty in this beta version. The results will be contained	in the “XLs”  table (see Figure below).

Figure 1 Example output of cross-link search.

| Column | Description |
| --- | --- |
| Show Spectrum | Click button to visualize annotated spectrum |
| RT [min] | Retention time of the MS/MS spectrum |
| m/z | Precursor m/z |
| Proteins | Protein accessions |
| Peptide | Peptide sequence |
| NA | Cross-linked precursor adduct |
| Charge | Precursor charge |
| Score | Cross-link PSM-level q-value (lower is better) |
| Localization score | Score of the best localization site (higher is better) |
| Best localizations | The cross-linked position(s) (marked in lower-case) |
| Peptide weight | for z=0 |
| NA weight | for z=0 |
| XL weight | for z=0 |
| ∆m/d [Da] | Absolute precursor mass error |
| ∆M [ppm] | Relative precursor mass error |

Table 1 Result columns

You can visualize cross-link PSMs by clicking on the “Show Spectrum” button.

Figure 2 Spectrum visualization